## Sheet1
| PR-AUC | F1@FPR5% | Recall | Precision | F1_anom | Recall@100 | Precision@100 | Event Recall | Event Precision | F1 event | TTD mean | TTD median | Alerts per day | n true events | n pred events | threshold | train time sec | inference time sec | model params
AutoEncoder_Merlion | 0.35119 | 0.5 |  |  |  | 0.5 | 0.06 | 0.66667 | 1 | 0.8 | 7.5 | 7.5 | 0.50043 | 3 | 2 | 0.99, +, 1 | 20.8221 | 0.12812 | {"hidden_size": 16, "layer_sizes": [64, 32, 16], "num_epochs": 80, "batch_size": 128, "learning_rate": 0.001, "_transform": "Identity()", "normalize": "MeanVarNormalize(bias={'Test_D436_fl (Test_D436_fl)': -0.5600694444444444, 'Test_D438_fl (Test_D438_fl)': 0.01729166666666669, 'Test_D440_fl (Test_D440_fl)': 0.03366666666666663, 'Test_D442_fl (Test_D442_fl)': 0.03366666666666661, 'Вентиль - положение (Valve)': 0.14710007440476194, 'Давление 1 - Сеть Подача (P1)': 0.05846354166666659, 'Давление 2 - Сеть Обратка (P2)': 0.012881944444444402, 'Давление 3 - Отопление (P3)': 0.10685763888888873, 'Подпитка (Accum_Units)': 0.0, 'Расход 1 - Подпитка (F1)': 0.0, 'Расход 2 - Сеть (F2)': -0.024564163773148125, 'Расход 3 - Отопление (F3)': 0.2633190883190886, 'Расход тепла (E1)': -0.08183465438446176, 'Температура 1 - Улица (T1)': 0.11783816425120766, 'Температура 2 - Цех у склада (T2)': 0.12316623263888903, 'Температура 2-1 - Цех у пресса (T2_1)': 0.1788377192982472, 'Температура 2-2 - Адм. Бух. (T2_2)': 0.16030092592592537, 'Температура 3 - Сеть Подача (T3)': -0.2192385912698408, 'Температура 4 - Сеть Обратка (T4)': -0.05424858504617209, 'Температура 5 - Отопление Подача (T5)': -0.059420859538784336, 'Температура 6 - Отопление Обратка (T6)': -0.05366815476190495, 'Температура 7 - Задание (T7)': 0.003308167686034381, 'Температура 7-0 - Задание График (T7_0)': 0.03188434829059788, 'Коррекция от превышения t (Korrect-OH)_Не работает': -0.13350694444444444, 'Коррекция от превышения t (Korrect-OH)_Работает': 0.13350694444444444, 'Коррекция от снижения t (Korrect-OC)_Не работает': 0.45329861111111114, 'Коррекция от снижения t (Korrect-OC)_Работает': -0.45329861111111114, 'Насос N1 (Pump1-R)_Включен': 0.4322916666666667, 'Насос N1 (Pump1-R)_Отключен': -0.4322916666666667, 'Насос N2 (Pump2-R)_Включен': -0.4322916666666667, 'Насос N2 (Pump2-R)_Отключен': 0.4322916666666667}, normalize_bias=True, normalize_scale=True, scale={'Test_D436_fl (Test_D436_fl)': 0.6624889899795587, 'Test_D438_fl (Test_D438_fl)': 0.5314350576374418, 'Test_D440_fl (Test_D440_fl)': 0.6644032619158672, 'Test_D442_fl (Test_D442_fl)': 0.6644032619158672, 'Вентиль - положение (Valve)': 0.5594494480519128, 'Давление 1 - Сеть Подача (P1)': 0.7377324142195691, 'Давление 2 - Сеть Обратка (P2)': 0.05603223235679432, 'Давление 3 - Отопление (P3)': 0.6001105400581377, 'Подпитка (Accum_Units)': 1.0, 'Расход 1 - Подпитка (F1)': 1.0, 'Расход 2 - Сеть (F2)': 0.5365459414375482, 'Расход 3 - Отопление (F3)': 0.816767639868588, 'Расход тепла (E1)': 0.5566209054620365, 'Температура 1 - Улица (T1)': 0.5822542148504396, 'Температура 2 - Цех у склада (T2)': 0.6653541571534379, 'Температура 2-1 - Цех у пресса (T2_1)': 0.776046258282723, 'Температура 2-2 - Адм. Бух. (T2_2)': 0.8527430788051854, 'Температура 3 - Сеть Подача (T3)': 0.9616214781566655, 'Температура 4 - Сеть Обратка (T4)': 0.5421863929979479, 'Температура 5 - Отопление Подача (T5)': 0.5482462453618528, 'Температура 6 - Отопление Обратка (T6)': 0.5491174904153924, 'Температура 7 - Задание (T7)': 0.6214652773630808, 'Температура 7-0 - Задание График (T7_0)': 0.6198998737128705, 'Коррекция от превышения t (Korrect-OH)_Не работает': 0.3401218020497252, 'Коррекция от превышения t (Korrect-OH)_Работает': 0.3401218020497252, 'Коррекция от снижения t (Korrect-OC)_Не работает': 0.49781420256542375, 'Коррекция от снижения t (Korrect-OC)_Работает': 0.49781420256542375, 'Насос N1 (Pump1-R)_Включен': 0.4953943697673826, 'Насос N1 (Pump1-R)_Отключен': 0.4953943697673826, 'Насос N2 (Pump2-R)_Включен': 0.4953943697673826, 'Насос N2 (Pump2-R)_Отключен': 0.4953943697673826})", "threshold": "AggregateAlarms(abs_score=True, alm_suppress_minutes=120, alm_threshold=2.5, alm_window_minutes=60, min_alm_in_window=2)", "lr": 0.001, "sequence_len": 6, "enable_threshold": true, "enable_calibrator": true, "dim": 31, "calibrator": "AnomScoreCalibrator(abs_score=True, anchors=[(0.2185937911272049, 0.0), (0.6443620099276001, 0.5), (0.857132426459532, 1.0), (1.0851973787703153, 1.5), (1.3513829273458424, 2.0), (11.92385196685791, 4.161416286239563), (23.84770393371582, 5.161416286239563)], max_score=1000)"}
DAGMM_base | 0.019763 | 0 |  |  |  | 0 | 0 | 1 | 0.5 | 0.66667 | 8.3333 | 10 | 1.5013 | 3 | 6 | 0.285, +, 1 | 76.9909 | 11.7641 | {"gmm_k": 4, "hidden_size": 16, "lambda_energy": 0.05, "lambda_cov_diag": 0.005, "num_epochs": 80, "batch_size": 128, "lr": 0.001, "sequence_len": 6, "_transform": "Identity()", "normalize": "MeanVarNormalize(bias={'Test_D436_fl (Test_D436_fl)': -0.5600694444444444, 'Test_D438_fl (Test_D438_fl)': 0.01729166666666669, 'Test_D440_fl (Test_D440_fl)': 0.03366666666666663, 'Test_D442_fl (Test_D442_fl)': 0.03366666666666661, 'Вентиль - положение (Valve)': 0.14710007440476194, 'Давление 1 - Сеть Подача (P1)': 0.05846354166666659, 'Давление 2 - Сеть Обратка (P2)': 0.012881944444444402, 'Давление 3 - Отопление (P3)': 0.10685763888888873, 'Подпитка (Accum_Units)': 0.0, 'Расход 1 - Подпитка (F1)': 0.0, 'Расход 2 - Сеть (F2)': -0.024564163773148125, 'Расход 3 - Отопление (F3)': 0.2633190883190886, 'Расход тепла (E1)': -0.08183465438446176, 'Температура 1 - Улица (T1)': 0.11783816425120766, 'Температура 2 - Цех у склада (T2)': 0.12316623263888903, 'Температура 2-1 - Цех у пресса (T2_1)': 0.1788377192982472, 'Температура 2-2 - Адм. Бух. (T2_2)': 0.16030092592592537, 'Температура 3 - Сеть Подача (T3)': -0.2192385912698408, 'Температура 4 - Сеть Обратка (T4)': -0.05424858504617209, 'Температура 5 - Отопление Подача (T5)': -0.059420859538784336, 'Температура 6 - Отопление Обратка (T6)': -0.05366815476190495, 'Температура 7 - Задание (T7)': 0.003308167686034381, 'Температура 7-0 - Задание График (T7_0)': 0.03188434829059788, 'Коррекция от превышения t (Korrect-OH)_Не работает': -0.13350694444444444, 'Коррекция от превышения t (Korrect-OH)_Работает': 0.13350694444444444, 'Коррекция от снижения t (Korrect-OC)_Не работает': 0.45329861111111114, 'Коррекция от снижения t (Korrect-OC)_Работает': -0.45329861111111114, 'Насос N1 (Pump1-R)_Включен': 0.4322916666666667, 'Насос N1 (Pump1-R)_Отключен': -0.4322916666666667, 'Насос N2 (Pump2-R)_Включен': -0.4322916666666667, 'Насос N2 (Pump2-R)_Отключен': 0.4322916666666667}, normalize_bias=True, normalize_scale=True, scale={'Test_D436_fl (Test_D436_fl)': 0.6624889899795587, 'Test_D438_fl (Test_D438_fl)': 0.5314350576374418, 'Test_D440_fl (Test_D440_fl)': 0.6644032619158672, 'Test_D442_fl (Test_D442_fl)': 0.6644032619158672, 'Вентиль - положение (Valve)': 0.5594494480519128, 'Давление 1 - Сеть Подача (P1)': 0.7377324142195691, 'Давление 2 - Сеть Обратка (P2)': 0.05603223235679432, 'Давление 3 - Отопление (P3)': 0.6001105400581377, 'Подпитка (Accum_Units)': 1.0, 'Расход 1 - Подпитка (F1)': 1.0, 'Расход 2 - Сеть (F2)': 0.5365459414375482, 'Расход 3 - Отопление (F3)': 0.816767639868588, 'Расход тепла (E1)': 0.5566209054620365, 'Температура 1 - Улица (T1)': 0.5822542148504396, 'Температура 2 - Цех у склада (T2)': 0.6653541571534379, 'Температура 2-1 - Цех у пресса (T2_1)': 0.776046258282723, 'Температура 2-2 - Адм. Бух. (T2_2)': 0.8527430788051854, 'Температура 3 - Сеть Подача (T3)': 0.9616214781566655, 'Температура 4 - Сеть Обратка (T4)': 0.5421863929979479, 'Температура 5 - Отопление Подача (T5)': 0.5482462453618528, 'Температура 6 - Отопление Обратка (T6)': 0.5491174904153924, 'Температура 7 - Задание (T7)': 0.6214652773630808, 'Температура 7-0 - Задание График (T7_0)': 0.6198998737128705, 'Коррекция от превышения t (Korrect-OH)_Не работает': 0.3401218020497252, 'Коррекция от превышения t (Korrect-OH)_Работает': 0.3401218020497252, 'Коррекция от снижения t (Korrect-OC)_Не работает': 0.49781420256542375, 'Коррекция от снижения t (Korrect-OC)_Работает': 0.49781420256542375, 'Насос N1 (Pump1-R)_Включен': 0.4953943697673826, 'Насос N1 (Pump1-R)_Отключен': 0.4953943697673826, 'Насос N2 (Pump2-R)_Включен': 0.4953943697673826, 'Насос N2 (Pump2-R)_Отключен': 0.4953943697673826})", "enable_threshold": true, "enable_calibrator": true, "threshold": "AggregateAlarms(abs_score=True, alm_suppress_minutes=120, alm_threshold=2.5, alm_window_minutes=60, min_alm_in_window=2)", "dim": 31, "calibrator": "AnomScoreCalibrator(abs_score=True, anchors=[(0.0038780972827225924, 0.0), (5.6944685995436455, 0.5), (11.515040068009109, 1.0), (13.809090204117133, 1.5), (13.815510749816895, 2.0), (27.63102149963379, 5.161416286239563)], max_score=1000)"}
DAGMM1 | 0.029346 | 0 |  |  |  | 0.16667 | 0.02 | 0.66667 | 0.086957 | 0.15385 | 5 | 5 | 5.755 | 3 | 23 | 0.74, +, 1 | 66.0747 | 11.4892 | {"gmm_k": 4, "hidden_size": 16, "lambda_energy": 0.05, "lambda_cov_diag": 0.001, "num_epochs": 80, "batch_size": 128, "lr": 0.001, "sequence_len": 6, "_transform": "Identity()", "normalize": "MeanVarNormalize(bias={'Test_D436_fl (Test_D436_fl)': -0.5600694444444444, 'Test_D438_fl (Test_D438_fl)': 0.01729166666666669, 'Test_D440_fl (Test_D440_fl)': 0.03366666666666663, 'Test_D442_fl (Test_D442_fl)': 0.03366666666666661, 'Вентиль - положение (Valve)': 0.14710007440476194, 'Давление 1 - Сеть Подача (P1)': 0.05846354166666659, 'Давление 2 - Сеть Обратка (P2)': 0.012881944444444402, 'Давление 3 - Отопление (P3)': 0.10685763888888873, 'Подпитка (Accum_Units)': 0.0, 'Расход 1 - Подпитка (F1)': 0.0, 'Расход 2 - Сеть (F2)': -0.024564163773148125, 'Расход 3 - Отопление (F3)': 0.2633190883190886, 'Расход тепла (E1)': -0.08183465438446176, 'Температура 1 - Улица (T1)': 0.11783816425120766, 'Температура 2 - Цех у склада (T2)': 0.12316623263888903, 'Температура 2-1 - Цех у пресса (T2_1)': 0.1788377192982472, 'Температура 2-2 - Адм. Бух. (T2_2)': 0.16030092592592537, 'Температура 3 - Сеть Подача (T3)': -0.2192385912698408, 'Температура 4 - Сеть Обратка (T4)': -0.05424858504617209, 'Температура 5 - Отопление Подача (T5)': -0.059420859538784336, 'Температура 6 - Отопление Обратка (T6)': -0.05366815476190495, 'Температура 7 - Задание (T7)': 0.003308167686034381, 'Температура 7-0 - Задание График (T7_0)': 0.03188434829059788, 'Коррекция от превышения t (Korrect-OH)_Не работает': -0.13350694444444444, 'Коррекция от превышения t (Korrect-OH)_Работает': 0.13350694444444444, 'Коррекция от снижения t (Korrect-OC)_Не работает': 0.45329861111111114, 'Коррекция от снижения t (Korrect-OC)_Работает': -0.45329861111111114, 'Насос N1 (Pump1-R)_Включен': 0.4322916666666667, 'Насос N1 (Pump1-R)_Отключен': -0.4322916666666667, 'Насос N2 (Pump2-R)_Включен': -0.4322916666666667, 'Насос N2 (Pump2-R)_Отключен': 0.4322916666666667}, normalize_bias=True, normalize_scale=True, scale={'Test_D436_fl (Test_D436_fl)': 0.6624889899795587, 'Test_D438_fl (Test_D438_fl)': 0.5314350576374418, 'Test_D440_fl (Test_D440_fl)': 0.6644032619158672, 'Test_D442_fl (Test_D442_fl)': 0.6644032619158672, 'Вентиль - положение (Valve)': 0.5594494480519128, 'Давление 1 - Сеть Подача (P1)': 0.7377324142195691, 'Давление 2 - Сеть Обратка (P2)': 0.05603223235679432, 'Давление 3 - Отопление (P3)': 0.6001105400581377, 'Подпитка (Accum_Units)': 1.0, 'Расход 1 - Подпитка (F1)': 1.0, 'Расход 2 - Сеть (F2)': 0.5365459414375482, 'Расход 3 - Отопление (F3)': 0.816767639868588, 'Расход тепла (E1)': 0.5566209054620365, 'Температура 1 - Улица (T1)': 0.5822542148504396, 'Температура 2 - Цех у склада (T2)': 0.6653541571534379, 'Температура 2-1 - Цех у пресса (T2_1)': 0.776046258282723, 'Температура 2-2 - Адм. Бух. (T2_2)': 0.8527430788051854, 'Температура 3 - Сеть Подача (T3)': 0.9616214781566655, 'Температура 4 - Сеть Обратка (T4)': 0.5421863929979479, 'Температура 5 - Отопление Подача (T5)': 0.5482462453618528, 'Температура 6 - Отопление Обратка (T6)': 0.5491174904153924, 'Температура 7 - Задание (T7)': 0.6214652773630808, 'Температура 7-0 - Задание График (T7_0)': 0.6198998737128705, 'Коррекция от превышения t (Korrect-OH)_Не работает': 0.3401218020497252, 'Коррекция от превышения t (Korrect-OH)_Работает': 0.3401218020497252, 'Коррекция от снижения t (Korrect-OC)_Не работает': 0.49781420256542375, 'Коррекция от снижения t (Korrect-OC)_Работает': 0.49781420256542375, 'Насос N1 (Pump1-R)_Включен': 0.4953943697673826, 'Насос N1 (Pump1-R)_Отключен': 0.4953943697673826, 'Насос N2 (Pump2-R)_Включен': 0.4953943697673826, 'Насос N2 (Pump2-R)_Отключен': 0.4953943697673826})", "enable_threshold": true, "enable_calibrator": true, "threshold": "AggregateAlarms(abs_score=True, alm_suppress_minutes=120, alm_threshold=2.5, alm_window_minutes=60, min_alm_in_window=2)", "dim": 31, "calibrator": "AnomScoreCalibrator(abs_score=True, anchors=[(0.00124532007612288, 0.0), (3.951173333559354, 0.5), (6.920059878954296, 1.0), (8.842912908004097, 1.5), (10.245906907140867, 2.0), (13.815510749816895, 4.161416286239563), (27.63102149963379, 5.161416286239563)], max_score=1000)"}
USAD_1 | 0.053864 | 0.11765 |  |  |  | 0.41667 | 0.05 | 0.66667 | 0.22222 | 0.33333 | 5 | 5 | 2.252 | 3 | 9 | 0.85, +, 1 | 43.5556 | 0.066596 | {"hidden_dims": 64, "rep_dim": 32, "epochs": 80, "batch_size": 64, "lr": 0.001, "es": 5, "train_val_pc": 0.1, "prt_steps": 20, "device": "cuda", "verbose": 1, "random_state": 42, "seq_len": 6}
TranAD_1 | 0.19893 | 0.46154 |  |  |  | 0.5 | 0.06 | 0.66667 | 1 | 0.8 | 5 | 5 | 0.50043 | 3 | 2 | 0.99, +, 1 | 15.4261 | 0.16057 | {"epochs": 80, "batch_size": 64, "lr": 0.0005, "prt_steps": 20, "device": "cuda", "verbose": 1, "random_state": 42, "seq_len": 6}
DAGMM2 | 0.02496 | 0 |  |  |  | 0 | 0 | 0.33333 | 0.2 | 0.25 | 0 | 0 | 1.2511 | 3 | 5 | 0.85, -, 1 | 108.1614 | 22.7825 | {"gmm_k": 6, "hidden_size": 32, "lambda_energy": 0.03, "lambda_cov_diag": 0.001, "num_epochs": 80, "batch_size": 128, "lr": 0.001, "sequence_len": 6, "_transform": "Identity()", "normalize": "MeanVarNormalize(bias={'Test_D436_fl (Test_D436_fl)': -0.5600694444444444, 'Test_D438_fl (Test_D438_fl)': 0.01729166666666669, 'Test_D440_fl (Test_D440_fl)': 0.03366666666666663, 'Test_D442_fl (Test_D442_fl)': 0.03366666666666661, 'Вентиль - положение (Valve)': 0.14710007440476194, 'Давление 1 - Сеть Подача (P1)': 0.05846354166666659, 'Давление 2 - Сеть Обратка (P2)': 0.012881944444444402, 'Давление 3 - Отопление (P3)': 0.10685763888888873, 'Подпитка (Accum_Units)': 0.0, 'Расход 1 - Подпитка (F1)': 0.0, 'Расход 2 - Сеть (F2)': -0.024564163773148125, 'Расход 3 - Отопление (F3)': 0.2633190883190886, 'Расход тепла (E1)': -0.08183465438446176, 'Температура 1 - Улица (T1)': 0.11783816425120766, 'Температура 2 - Цех у склада (T2)': 0.12316623263888903, 'Температура 2-1 - Цех у пресса (T2_1)': 0.1788377192982472, 'Температура 2-2 - Адм. Бух. (T2_2)': 0.16030092592592537, 'Температура 3 - Сеть Подача (T3)': -0.2192385912698408, 'Температура 4 - Сеть Обратка (T4)': -0.05424858504617209, 'Температура 5 - Отопление Подача (T5)': -0.059420859538784336, 'Температура 6 - Отопление Обратка (T6)': -0.05366815476190495, 'Температура 7 - Задание (T7)': 0.003308167686034381, 'Температура 7-0 - Задание График (T7_0)': 0.03188434829059788, 'Коррекция от превышения t (Korrect-OH)_Не работает': -0.13350694444444444, 'Коррекция от превышения t (Korrect-OH)_Работает': 0.13350694444444444, 'Коррекция от снижения t (Korrect-OC)_Не работает': 0.45329861111111114, 'Коррекция от снижения t (Korrect-OC)_Работает': -0.45329861111111114, 'Насос N1 (Pump1-R)_Включен': 0.4322916666666667, 'Насос N1 (Pump1-R)_Отключен': -0.4322916666666667, 'Насос N2 (Pump2-R)_Включен': -0.4322916666666667, 'Насос N2 (Pump2-R)_Отключен': 0.4322916666666667}, normalize_bias=True, normalize_scale=True, scale={'Test_D436_fl (Test_D436_fl)': 0.6624889899795587, 'Test_D438_fl (Test_D438_fl)': 0.5314350576374418, 'Test_D440_fl (Test_D440_fl)': 0.6644032619158672, 'Test_D442_fl (Test_D442_fl)': 0.6644032619158672, 'Вентиль - положение (Valve)': 0.5594494480519128, 'Давление 1 - Сеть Подача (P1)': 0.7377324142195691, 'Давление 2 - Сеть Обратка (P2)': 0.05603223235679432, 'Давление 3 - Отопление (P3)': 0.6001105400581377, 'Подпитка (Accum_Units)': 1.0, 'Расход 1 - Подпитка (F1)': 1.0, 'Расход 2 - Сеть (F2)': 0.5365459414375482, 'Расход 3 - Отопление (F3)': 0.816767639868588, 'Расход тепла (E1)': 0.5566209054620365, 'Температура 1 - Улица (T1)': 0.5822542148504396, 'Температура 2 - Цех у склада (T2)': 0.6653541571534379, 'Температура 2-1 - Цех у пресса (T2_1)': 0.776046258282723, 'Температура 2-2 - Адм. Бух. (T2_2)': 0.8527430788051854, 'Температура 3 - Сеть Подача (T3)': 0.9616214781566655, 'Температура 4 - Сеть Обратка (T4)': 0.5421863929979479, 'Температура 5 - Отопление Подача (T5)': 0.5482462453618528, 'Температура 6 - Отопление Обратка (T6)': 0.5491174904153924, 'Температура 7 - Задание (T7)': 0.6214652773630808, 'Температура 7-0 - Задание График (T7_0)': 0.6198998737128705, 'Коррекция от превышения t (Korrect-OH)_Не работает': 0.3401218020497252, 'Коррекция от превышения t (Korrect-OH)_Работает': 0.3401218020497252, 'Коррекция от снижения t (Korrect-OC)_Не работает': 0.49781420256542375, 'Коррекция от снижения t (Korrect-OC)_Работает': 0.49781420256542375, 'Насос N1 (Pump1-R)_Включен': 0.4953943697673826, 'Насос N1 (Pump1-R)_Отключен': 0.4953943697673826, 'Насос N2 (Pump2-R)_Включен': 0.4953943697673826, 'Насос N2 (Pump2-R)_Отключен': 0.4953943697673826})", "enable_threshold": true, "enable_calibrator": true, "threshold": "AggregateAlarms(abs_score=True, alm_suppress_minutes=120, alm_threshold=2.5, alm_window_minutes=60, min_alm_in_window=2)", "dim": 31, "calibrator": "AnomScoreCalibrator(abs_score=True, anchors=[(0.006542808376252651, 0.0), (373.51953524493865, 0.5), (2169.626310519706, 1.0), (3035.97806681645, 1.5), (4555.652318037773, 2.0), (258986.03125, 4.161416286239563), (517972.0625, 5.161416286239563)], max_score=517972.0625)"}
USAD_base | 0.047642 | 0.14286 |  |  |  | 0.41667 | 0.05 | 0.66667 | 0.25 | 0.36364 | 10 | 10 | 2.0017 | 3 | 8 | 0.96, +, 1 | 20.7606 | 0.065943 | {"epochs": 80, "prt_steps": 10, "device": "cuda", "verbose": 1, "random_state": 42, "seq_len": 6}
TranAD_base | 0.21404 | 0.46154 |  |  |  | 0.91667 | 0.11 | 1 | 0.75 | 0.85714 | 10 | 10 | 1.0009 | 3 | 4 | 0.75, +, 1 | 18.0954 | 0.12619 | {"epochs": 80, "prt_steps": 20, "device": "cuda", "verbose": 1, "random_state": 42, "seq_len": 6}
DeepIFTS_base | 0.021316 | 0.029412 |  |  |  | 0.25 | 0.03 | 0.66667 | 0.2 | 0.30769 | 10 | 10 | 2.5022 | 3 | 10 | 0.85, +, 1 | 14.8763 | 4.8054 | {"epochs": 80, "prt_steps": 20, "device": "cuda", "verbose": 1, "random_state": 42, "seq_len": 6}
TcnED_base | 0.13929 | 0.19608 |  |  |  | 0.83333 | 0.1 | 1 | 0.42857 | 0.6 | 8.3333 | 10 | 1.7515 | 3 | 7 | 0.977, +, 1 | 73.6702 | 0.14565 | {"epochs": 80, "prt_steps": 20, "device": "cuda", "verbose": 1, "random_state": 42, "seq_len": 6}
AutoEncoder_Merlion_miss | 12.92 | 18.6 | 16.67 | 22.22 | 19.05 | 58.33 | 7 | 33.33 | 50 | 40 | 10 | 10 | 0.5 | 3 | 2 | 0.95, +, 1 | 28.5 | 0.2 | {"hidden_size": 16, "layer_sizes": [64, 32, 16], "num_epochs": 80, "batch_size": 128, "learning_rate": 0.001, "_transform": "Identity()", "normalize": "MeanVarNormalize(bias={'Test_D436_fl (Test_D436_fl)': -0.5600694444444444, 'Test_D438_fl (Test_D438_fl)': 0.01729166666666669, 'Test_D440_fl (Test_D440_fl)': 0.03366666666666663, 'Test_D442_fl (Test_D442_fl)': 0.03366666666666661, 'Вентиль - положение (Valve)': 0.14710007440476194, 'Давление 1 - Сеть Подача (P1)': 0.05846354166666659, 'Давление 2 - Сеть Обратка (P2)': 0.012881944444444402, 'Давление 3 - Отопление (P3)': 0.10685763888888873, 'Подпитка (Accum_Units)': 0.0, 'Расход 1 - Подпитка (F1)': 0.0, 'Расход 2 - Сеть (F2)': -0.024564163773148125, 'Расход 3 - Отопление (F3)': 0.2633190883190886, 'Расход тепла (E1)': -0.08183465438446176, 'Температура 1 - Улица (T1)': 0.11783816425120766, 'Температура 2 - Цех у склада (T2)': 0.12316623263888903, 'Температура 2-1 - Цех у пресса (T2_1)': 0.1788377192982472, 'Температура 2-2 - Адм. Бух. (T2_2)': 0.16030092592592537, 'Температура 3 - Сеть Подача (T3)': -0.2192385912698408, 'Температура 4 - Сеть Обратка (T4)': -0.05424858504617209, 'Температура 5 - Отопление Подача (T5)': -0.059420859538784336, 'Температура 6 - Отопление Обратка (T6)': -0.05366815476190495, 'Температура 7 - Задание (T7)': 0.003308167686034381, 'Температура 7-0 - Задание График (T7_0)': 0.03188434829059788, 'miss_all': 0.01423611111111111, 'miss_Test_D436_fl (Test_D436_fl)': 0.01423611111111111, 'miss_Test_D438_fl (Test_D438_fl)': 0.01423611111111111, 'miss_Test_D440_fl (Test_D440_fl)': 0.01423611111111111, 'miss_Test_D442_fl (Test_D442_fl)': 0.01423611111111111, 'miss_Вентиль - положение (Valve)': 0.01423611111111111, 'miss_Давление 1 - Сеть Подача (P1)': 0.01423611111111111, 'miss_Давление 2 - Сеть Обратка (P2)': 0.01423611111111111, 'miss_Давление 3 - Отопление (P3)': 0.01423611111111111, 'miss_Подпитка (Accum_Units)': 0.01423611111111111, 'miss_Расход 1 - Подпитка (F1)': 0.01423611111111111, 'miss_Расход 2 - Сеть (F2)': 0.01423611111111111, 'miss_Расход 3 - Отопление (F3)': 0.01423611111111111, 'miss_Расход тепла (E1)': 0.01423611111111111, 'miss_Температура 1 - Улица (T1)': 0.01423611111111111, 'miss_Температура 2 - Цех у склада (T2)': 0.01423611111111111, 'miss_Температура 2-1 - Цех у пресса (T2_1)': 0.01423611111111111, 'miss_Температура 2-2 - Адм. Бух. (T2_2)': 0.01423611111111111, 'miss_Температура 3 - Сеть Подача (T3)': 0.01423611111111111, 'miss_Температура 4 - Сеть Обратка (T4)': 0.01423611111111111, 'miss_Температура 5 - Отопление Подача (T5)': 0.01423611111111111, 'miss_Температура 6 - Отопление Обратка (T6)': 0.01423611111111111, 'miss_Температура 7 - Задание (T7)': 0.01423611111111111, 'miss_Температура 7-0 - Задание График (T7_0)': 0.01423611111111111, 'miss_Коррекция от превышения t (Korrect-OH)': 0.01423611111111111, 'miss_Коррекция от снижения t (Korrect-OC)': 0.01423611111111111, 'miss_Насос N1 (Pump1-R)': 0.01423611111111111, 'miss_Насос N2 (Pump2-R)': 0.01423611111111111, 'Коррекция от превышения t (Korrect-OH)_Не работает': -0.13350694444444444, 'Коррекция от превышения t (Korrect-OH)_Работает': 0.13350694444444444, 'Коррекция от снижения t (Korrect-OC)_Не работает': 0.45329861111111114, 'Коррекция от снижения t (Korrect-OC)_Работает': -0.45329861111111114, 'Насос N1 (Pump1-R)_Включен': 0.4322916666666667, 'Насос N1 (Pump1-R)_Отключен': -0.4322916666666667, 'Насос N2 (Pump2-R)_Включен': -0.4322916666666667, 'Насос N2 (Pump2-R)_Отключен': 0.4322916666666667}, normalize_bias=True, normalize_scale=True, scale={'Test_D436_fl (Test_D436_fl)': 0.6624889899795587, 'Test_D438_fl (Test_D438_fl)': 0.5314350576374418, 'Test_D440_fl (Test_D440_fl)': 0.6644032619158672, 'Test_D442_fl (Test_D442_fl)': 0.6644032619158672, 'Вентиль - положение (Valve)': 0.5594494480519128, 'Давление 1 - Сеть Подача (P1)': 0.7377324142195691, 'Давление 2 - Сеть Обратка (P2)': 0.05603223235679432, 'Давление 3 - Отопление (P3)': 0.6001105400581377, 'Подпитка (Accum_Units)': 1.0, 'Расход 1 - Подпитка (F1)': 1.0, 'Расход 2 - Сеть (F2)': 0.5365459414375482, 'Расход 3 - Отопление (F3)': 0.816767639868588, 'Расход тепла (E1)': 0.5566209054620365, 'Температура 1 - Улица (T1)': 0.5822542148504396, 'Температура 2 - Цех у склада (T2)': 0.6653541571534379, 'Температура 2-1 - Цех у пресса (T2_1)': 0.776046258282723, 'Температура 2-2 - Адм. Бух. (T2_2)': 0.8527430788051854, 'Температура 3 - Сеть Подача (T3)': 0.9616214781566655, 'Температура 4 - Сеть Обратка (T4)': 0.5421863929979479, 'Температура 5 - Отопление Подача (T5)': 0.5482462453618528, 'Температура 6 - Отопление Обратка (T6)': 0.5491174904153924, 'Температура 7 - Задание (T7)': 0.6214652773630808, 'Температура 7-0 - Задание График (T7_0)': 0.6198998737128705, 'miss_all': 0.11846283911650612, 'miss_Test_D436_fl (Test_D436_fl)': 0.11846283911650612, 'miss_Test_D438_fl (Test_D438_fl)': 0.11846283911650612, 'miss_Test_D440_fl (Test_D440_fl)': 0.11846283911650612, 'miss_Test_D442_fl (Test_D442_fl)': 0.11846283911650612, 'miss_Вентиль - положение (Valve)': 0.11846283911650612, 'miss_Давление 1 - Сеть Подача (P1)': 0.11846283911650612, 'miss_Давление 2 - Сеть Обратка (P2)': 0.11846283911650612, 'miss_Давление 3 - Отопление (P3)': 0.11846283911650612, 'miss_Подпитка (Accum_Units)': 0.11846283911650612, 'miss_Расход 1 - Подпитка (F1)': 0.11846283911650612, 'miss_Расход 2 - Сеть (F2)': 0.11846283911650612, 'miss_Расход 3 - Отопление (F3)': 0.11846283911650612, 'miss_Расход тепла (E1)': 0.11846283911650612, 'miss_Температура 1 - Улица (T1)': 0.11846283911650612, 'miss_Температура 2 - Цех у склада (T2)': 0.11846283911650612, 'miss_Температура 2-1 - Цех у пресса (T2_1)': 0.11846283911650612, 'miss_Температура 2-2 - Адм. Бух. (T2_2)': 0.11846283911650612, 'miss_Температура 3 - Сеть Подача (T3)': 0.11846283911650612, 'miss_Температура 4 - Сеть Обратка (T4)': 0.11846283911650612, 'miss_Температура 5 - Отопление Подача (T5)': 0.11846283911650612, 'miss_Температура 6 - Отопление Обратка (T6)': 0.11846283911650612, 'miss_Температура 7 - Задание (T7)': 0.11846283911650612, 'miss_Температура 7-0 - Задание График (T7_0)': 0.11846283911650612, 'miss_Коррекция от превышения t (Korrect-OH)': 0.11846283911650612, 'miss_Коррекция от снижения t (Korrect-OC)': 0.11846283911650612, 'miss_Насос N1 (Pump1-R)': 0.11846283911650612, 'miss_Насос N2 (Pump2-R)': 0.11846283911650612, 'Коррекция от превышения t (Korrect-OH)_Не работает': 0.3401218020497252, 'Коррекция от превышения t (Korrect-OH)_Работает': 0.3401218020497252, 'Коррекция от снижения t (Korrect-OC)_Не работает': 0.49781420256542375, 'Коррекция от снижения t (Korrect-OC)_Работает': 0.49781420256542375, 'Насос N1 (Pump1-R)_Включен': 0.4953943697673826, 'Насос N1 (Pump1-R)_Отключен': 0.4953943697673826, 'Насос N2 (Pump2-R)_Включен': 0.4953943697673826, 'Насос N2 (Pump2-R)_Отключен': 0.4953943697673826})", "threshold": "AggregateAlarms(abs_score=True, alm_suppress_minutes=120, alm_threshold=2.5, alm_window_minutes=60, min_alm_in_window=2)", "lr": 0.001, "sequence_len": 6, "enable_threshold": true, "enable_calibrator": true, "dim": 59, "calibrator": "AnomScoreCalibrator(abs_score=True, anchors=[(0.31389620900154114, 0.0), (0.7928021625772271, 0.5), (1.0259559719177158, 1.0), (1.2830120075761748, 1.5), (1.6340775681427848, 2.0), (18.702295303344727, 4.161416286239563), (37.40459060668945, 5.161416286239563)], max_score=1000)"}
DAGMM_base_miss | 0.92 | 0 | 0 | 0 | 0 | 16.67 | 2 | 0 | 0 | 0 |  |  | 0 | 3 | 0 | 0.95, +, 1 | 79.1 | 12.98 | {"batch_size": 128, "enable_calibrator": true, "enable_threshold": true, "gmm_k": 4, "hidden_size": 16, "lambda_cov_diag": 0.005, "lambda_energy": 0.05, "lr": 0.001, "normalize": "MeanVarNormalize(bias={'Test_D436_fl (Test_D436_fl)': -0.5600694444444444, 'Test_D438_fl (Test_D438_fl)': 0.01729166666666669, 'Test_D440_fl (Test_D440_fl)': 0.03366666666666663, 'Test_D442_fl (Test_D442_fl)': 0.03366666666666661, 'miss_Test_D436_fl (Test_D436_fl)': 0.01423611111111111, 'miss_Test_D438_fl (Test_D438_fl)': 0.01423611111111111, 'miss_Test_D440_fl (Test_D440_fl)': 0.01423611111111111, 'miss_Test_D442_fl (Test_D442_fl)': 0.01423611111111111, 'miss_all': 0.01423611111111111, 'miss_Вентиль - положение (Valve)': 0.01423611111111111, 'miss_Давление 1 - Сеть Подача (P1)': 0.01423611111111111, 'miss_Давление 2 - Сеть Обратка (P2)': 0.01423611111111111, 'miss_Давление 3 - Отопление (P3)': 0.01423611111111111, 'miss_Коррекция от превышения t (Korrect-OH)': 0.01423611111111111, 'miss_Коррекция от снижения t (Korrect-OC)': 0.01423611111111111, 'miss_Насос N1 (Pump1-R)': 0.01423611111111111, 'miss_Насос N2 (Pump2-R)': 0.01423611111111111, 'miss_Подпитка (Accum_Units)': 0.01423611111111111, 'miss_Расход 1 - Подпитка (F1)': 0.01423611111111111, 'miss_Расход 2 - Сеть (F2)': 0.01423611111111111, 'miss_Расход 3 - Отопление (F3)': 0.01423611111111111, 'miss_Расход тепла (E1)': 0.01423611111111111, 'miss_Температура 1 - Улица (T1)': 0.01423611111111111, 'miss_Температура 2 - Цех у склада (T2)': 0.01423611111111111, 'miss_Температура 2-1 - Цех у пресса (T2_1)': 0.01423611111111111, 'miss_Температура 2-2 - Адм. Бух. (T2_2)': 0.01423611111111111, 'miss_Температура 3 - Сеть Подача (T3)': 0.01423611111111111, 'miss_Температура 4 - Сеть Обратка (T4)': 0.01423611111111111, 'miss_Температура 5 - Отопление Подача (T5)': 0.01423611111111111, 'miss_Температура 6 - Отопление Обратка (T6)': 0.01423611111111111, 'miss_Температура 7 - Задание (T7)': 0.01423611111111111, 'miss_Температура 7-0 - Задание График (T7_0)': 0.01423611111111111, 'Вентиль - положение (Valve)': 0.14710007440476194, 'Давление 1 - Сеть Подача (P1)': 0.05846354166666659, 'Давление 2 - Сеть Обратка (P2)': 0.012881944444444402, 'Давление 3 - Отопление (P3)': 0.10685763888888873, 'Коррекция от превышения t (Korrect-OH)_Не работает': -0.13350694444444444, 'Коррекция от превышения t (Korrect-OH)_Работает': 0.13350694444444444, 'Коррекция от снижения t (Korrect-OC)_Не работает': 0.45329861111111114, 'Коррекция от снижения t (Korrect-OC)_Работает': -0.45329861111111114, 'Насос N1 (Pump1-R)_Включен': 0.4322916666666667, 'Насос N1 (Pump1-R)_Отключен': -0.4322916666666667, 'Насос N2 (Pump2-R)_Включен': -0.4322916666666667, 'Насос N2 (Pump2-R)_Отключен': 0.4322916666666667, 'Подпитка (Accum_Units)': 0.0, 'Расход 1 - Подпитка (F1)': 0.0, 'Расход 2 - Сеть (F2)': -0.024564163773148125, 'Расход 3 - Отопление (F3)': 0.2633190883190886, 'Расход тепла (E1)': -0.08183465438446176, 'Температура 1 - Улица (T1)': 0.11783816425120766, 'Температура 2 - Цех у склада (T2)': 0.12316623263888903, 'Температура 2-1 - Цех у пресса (T2_1)': 0.1788377192982472, 'Температура 2-2 - Адм. Бух. (T2_2)': 0.16030092592592537, 'Температура 3 - Сеть Подача (T3)': -0.2192385912698408, 'Температура 4 - Сеть Обратка (T4)': -0.05424858504617209, 'Температура 5 - Отопление Подача (T5)': -0.059420859538784336, 'Температура 6 - Отопление Обратка (T6)': -0.05366815476190495, 'Температура 7 - Задание (T7)': 0.003308167686034381, 'Температура 7-0 - Задание График (T7_0)': 0.03188434829059788}, normalize_bias=True, normalize_scale=True, scale={'Test_D436_fl (Test_D436_fl)': 0.6624889899795587, 'Test_D438_fl (Test_D438_fl)': 0.5314350576374418, 'Test_D440_fl (Test_D440_fl)': 0.6644032619158672, 'Test_D442_fl (Test_D442_fl)': 0.6644032619158672, 'miss_Test_D436_fl (Test_D436_fl)': 0.11846283911650612, 'miss_Test_D438_fl (Test_D438_fl)': 0.11846283911650612, 'miss_Test_D440_fl (Test_D440_fl)': 0.11846283911650612, 'miss_Test_D442_fl (Test_D442_fl)': 0.11846283911650612, 'miss_all': 0.11846283911650612, 'miss_Вентиль - положение (Valve)': 0.11846283911650612, 'miss_Давление 1 - Сеть Подача (P1)': 0.11846283911650612, 'miss_Давление 2 - Сеть Обратка (P2)': 0.11846283911650612, 'miss_Давление 3 - Отопление (P3)': 0.11846283911650612, 'miss_Коррекция от превышения t (Korrect-OH)': 0.11846283911650612, 'miss_Коррекция от снижения t (Korrect-OC)': 0.11846283911650612, 'miss_Насос N1 (Pump1-R)': 0.11846283911650612, 'miss_Насос N2 (Pump2-R)': 0.11846283911650612, 'miss_Подпитка (Accum_Units)': 0.11846283911650612, 'miss_Расход 1 - Подпитка (F1)': 0.11846283911650612, 'miss_Расход 2 - Сеть (F2)': 0.11846283911650612, 'miss_Расход 3 - Отопление (F3)': 0.11846283911650612, 'miss_Расход тепла (E1)': 0.11846283911650612, 'miss_Температура 1 - Улица (T1)': 0.11846283911650612, 'miss_Температура 2 - Цех у склада (T2)': 0.11846283911650612, 'miss_Температура 2-1 - Цех у пресса (T2_1)': 0.11846283911650612, 'miss_Температура 2-2 - Адм. Бух. (T2_2)': 0.11846283911650612, 'miss_Температура 3 - Сеть Подача (T3)': 0.11846283911650612, 'miss_Температура 4 - Сеть Обратка (T4)': 0.11846283911650612, 'miss_Температура 5 - Отопление Подача (T5)': 0.11846283911650612, 'miss_Температура 6 - Отопление Обратка (T6)': 0.11846283911650612, 'miss_Температура 7 - Задание (T7)': 0.11846283911650612, 'miss_Температура 7-0 - Задание График (T7_0)': 0.11846283911650612, 'Вентиль - положение (Valve)': 0.5594494480519128, 'Давление 1 - Сеть Подача (P1)': 0.7377324142195691, 'Давление 2 - Сеть Обратка (P2)': 0.05603223235679432, 'Давление 3 - Отопление (P3)': 0.6001105400581377, 'Коррекция от превышения t (Korrect-OH)_Не работает': 0.3401218020497252, 'Коррекция от превышения t (Korrect-OH)_Работает': 0.3401218020497252, 'Коррекция от снижения t (Korrect-OC)_Не работает': 0.49781420256542375, 'Коррекция от снижения t (Korrect-OC)_Работает': 0.49781420256542375, 'Насос N1 (Pump1-R)_Включен': 0.4953943697673826, 'Насос N1 (Pump1-R)_Отключен': 0.4953943697673826, 'Насос N2 (Pump2-R)_Включен': 0.4953943697673826, 'Насос N2 (Pump2-R)_Отключен': 0.4953943697673826, 'Подпитка (Accum_Units)': 1.0, 'Расход 1 - Подпитка (F1)': 1.0, 'Расход 2 - Сеть (F2)': 0.5365459414375482, 'Расход 3 - Отопление (F3)': 0.816767639868588, 'Расход тепла (E1)': 0.5566209054620365, 'Температура 1 - Улица (T1)': 0.5822542148504396, 'Температура 2 - Цех у склада (T2)': 0.6653541571534379, 'Температура 2-1 - Цех у пресса (T2_1)': 0.776046258282723, 'Температура 2-2 - Адм. Бух. (T2_2)': 0.8527430788051854, 'Температура 3 - Сеть Подача (T3)': 0.9616214781566655, 'Температура 4 - Сеть Обратка (T4)': 0.5421863929979479, 'Температура 5 - Отопление Подача (T5)': 0.5482462453618528, 'Температура 6 - Отопление Обратка (T6)': 0.5491174904153924, 'Температура 7 - Задание (T7)': 0.6214652773630808, 'Температура 7-0 - Задание График (T7_0)': 0.6198998737128705})", "num_epochs": 80, "sequence_len": 6, "threshold": "AggregateAlarms(abs_score=True, alm_suppress_minutes=120, alm_threshold=2.5, alm_window_minutes=60, min_alm_in_window=2)", "_transform": "Identity()", "dim": 59, "calibrator": "AnomScoreCalibrator(abs_score=True, anchors=[[0.015398308634757996, 0.0], [5.674767156558257, 0.5], [13.499130865839726, 1.0], [25.788166777712767, 1.5], [53.16846080027972, 2.0], [7352.3994140625, 4.161416286239563], [14704.798828125, 5.161416286239563]], max_score=14704.798828125)"}
DAGMM1_miss | 4.82 | 18.18 | 0 | 0 | 0 | 16.67 | 2 | 0 | 0 | 0 |  |  | 0 | 3 | 0 | 0.95, +, 1 | 71.12 | 12.82 | {"batch_size": 128, "enable_calibrator": true, "enable_threshold": true, "gmm_k": 4, "hidden_size": 16, "lambda_cov_diag": 0.001, "lambda_energy": 0.05, "lr": 0.001, "normalize": "MeanVarNormalize(bias={'Test_D436_fl (Test_D436_fl)': -0.5600694444444444, 'Test_D438_fl (Test_D438_fl)': 0.01729166666666669, 'Test_D440_fl (Test_D440_fl)': 0.03366666666666663, 'Test_D442_fl (Test_D442_fl)': 0.03366666666666661, 'miss_Test_D436_fl (Test_D436_fl)': 0.01423611111111111, 'miss_Test_D438_fl (Test_D438_fl)': 0.01423611111111111, 'miss_Test_D440_fl (Test_D440_fl)': 0.01423611111111111, 'miss_Test_D442_fl (Test_D442_fl)': 0.01423611111111111, 'miss_all': 0.01423611111111111, 'miss_Вентиль - положение (Valve)': 0.01423611111111111, 'miss_Давление 1 - Сеть Подача (P1)': 0.01423611111111111, 'miss_Давление 2 - Сеть Обратка (P2)': 0.01423611111111111, 'miss_Давление 3 - Отопление (P3)': 0.01423611111111111, 'miss_Коррекция от превышения t (Korrect-OH)': 0.01423611111111111, 'miss_Коррекция от снижения t (Korrect-OC)': 0.01423611111111111, 'miss_Насос N1 (Pump1-R)': 0.01423611111111111, 'miss_Насос N2 (Pump2-R)': 0.01423611111111111, 'miss_Подпитка (Accum_Units)': 0.01423611111111111, 'miss_Расход 1 - Подпитка (F1)': 0.01423611111111111, 'miss_Расход 2 - Сеть (F2)': 0.01423611111111111, 'miss_Расход 3 - Отопление (F3)': 0.01423611111111111, 'miss_Расход тепла (E1)': 0.01423611111111111, 'miss_Температура 1 - Улица (T1)': 0.01423611111111111, 'miss_Температура 2 - Цех у склада (T2)': 0.01423611111111111, 'miss_Температура 2-1 - Цех у пресса (T2_1)': 0.01423611111111111, 'miss_Температура 2-2 - Адм. Бух. (T2_2)': 0.01423611111111111, 'miss_Температура 3 - Сеть Подача (T3)': 0.01423611111111111, 'miss_Температура 4 - Сеть Обратка (T4)': 0.01423611111111111, 'miss_Температура 5 - Отопление Подача (T5)': 0.01423611111111111, 'miss_Температура 6 - Отопление Обратка (T6)': 0.01423611111111111, 'miss_Температура 7 - Задание (T7)': 0.01423611111111111, 'miss_Температура 7-0 - Задание График (T7_0)': 0.01423611111111111, 'Вентиль - положение (Valve)': 0.14710007440476194, 'Давление 1 - Сеть Подача (P1)': 0.05846354166666659, 'Давление 2 - Сеть Обратка (P2)': 0.012881944444444402, 'Давление 3 - Отопление (P3)': 0.10685763888888873, 'Коррекция от превышения t (Korrect-OH)_Не работает': -0.13350694444444444, 'Коррекция от превышения t (Korrect-OH)_Работает': 0.13350694444444444, 'Коррекция от снижения t (Korrect-OC)_Не работает': 0.45329861111111114, 'Коррекция от снижения t (Korrect-OC)_Работает': -0.45329861111111114, 'Насос N1 (Pump1-R)_Включен': 0.4322916666666667, 'Насос N1 (Pump1-R)_Отключен': -0.4322916666666667, 'Насос N2 (Pump2-R)_Включен': -0.4322916666666667, 'Насос N2 (Pump2-R)_Отключен': 0.4322916666666667, 'Подпитка (Accum_Units)': 0.0, 'Расход 1 - Подпитка (F1)': 0.0, 'Расход 2 - Сеть (F2)': -0.024564163773148125, 'Расход 3 - Отопление (F3)': 0.2633190883190886, 'Расход тепла (E1)': -0.08183465438446176, 'Температура 1 - Улица (T1)': 0.11783816425120766, 'Температура 2 - Цех у склада (T2)': 0.12316623263888903, 'Температура 2-1 - Цех у пресса (T2_1)': 0.1788377192982472, 'Температура 2-2 - Адм. Бух. (T2_2)': 0.16030092592592537, 'Температура 3 - Сеть Подача (T3)': -0.2192385912698408, 'Температура 4 - Сеть Обратка (T4)': -0.05424858504617209, 'Температура 5 - Отопление Подача (T5)': -0.059420859538784336, 'Температура 6 - Отопление Обратка (T6)': -0.05366815476190495, 'Температура 7 - Задание (T7)': 0.003308167686034381, 'Температура 7-0 - Задание График (T7_0)': 0.03188434829059788}, normalize_bias=True, normalize_scale=True, scale={'Test_D436_fl (Test_D436_fl)': 0.6624889899795587, 'Test_D438_fl (Test_D438_fl)': 0.5314350576374418, 'Test_D440_fl (Test_D440_fl)': 0.6644032619158672, 'Test_D442_fl (Test_D442_fl)': 0.6644032619158672, 'miss_Test_D436_fl (Test_D436_fl)': 0.11846283911650612, 'miss_Test_D438_fl (Test_D438_fl)': 0.11846283911650612, 'miss_Test_D440_fl (Test_D440_fl)': 0.11846283911650612, 'miss_Test_D442_fl (Test_D442_fl)': 0.11846283911650612, 'miss_all': 0.11846283911650612, 'miss_Вентиль - положение (Valve)': 0.11846283911650612, 'miss_Давление 1 - Сеть Подача (P1)': 0.11846283911650612, 'miss_Давление 2 - Сеть Обратка (P2)': 0.11846283911650612, 'miss_Давление 3 - Отопление (P3)': 0.11846283911650612, 'miss_Коррекция от превышения t (Korrect-OH)': 0.11846283911650612, 'miss_Коррекция от снижения t (Korrect-OC)': 0.11846283911650612, 'miss_Насос N1 (Pump1-R)': 0.11846283911650612, 'miss_Насос N2 (Pump2-R)': 0.11846283911650612, 'miss_Подпитка (Accum_Units)': 0.11846283911650612, 'miss_Расход 1 - Подпитка (F1)': 0.11846283911650612, 'miss_Расход 2 - Сеть (F2)': 0.11846283911650612, 'miss_Расход 3 - Отопление (F3)': 0.11846283911650612, 'miss_Расход тепла (E1)': 0.11846283911650612, 'miss_Температура 1 - Улица (T1)': 0.11846283911650612, 'miss_Температура 2 - Цех у склада (T2)': 0.11846283911650612, 'miss_Температура 2-1 - Цех у пресса (T2_1)': 0.11846283911650612, 'miss_Температура 2-2 - Адм. Бух. (T2_2)': 0.11846283911650612, 'miss_Температура 3 - Сеть Подача (T3)': 0.11846283911650612, 'miss_Температура 4 - Сеть Обратка (T4)': 0.11846283911650612, 'miss_Температура 5 - Отопление Подача (T5)': 0.11846283911650612, 'miss_Температура 6 - Отопление Обратка (T6)': 0.11846283911650612, 'miss_Температура 7 - Задание (T7)': 0.11846283911650612, 'miss_Температура 7-0 - Задание График (T7_0)': 0.11846283911650612, 'Вентиль - положение (Valve)': 0.5594494480519128, 'Давление 1 - Сеть Подача (P1)': 0.7377324142195691, 'Давление 2 - Сеть Обратка (P2)': 0.05603223235679432, 'Давление 3 - Отопление (P3)': 0.6001105400581377, 'Коррекция от превышения t (Korrect-OH)_Не работает': 0.3401218020497252, 'Коррекция от превышения t (Korrect-OH)_Работает': 0.3401218020497252, 'Коррекция от снижения t (Korrect-OC)_Не работает': 0.49781420256542375, 'Коррекция от снижения t (Korrect-OC)_Работает': 0.49781420256542375, 'Насос N1 (Pump1-R)_Включен': 0.4953943697673826, 'Насос N1 (Pump1-R)_Отключен': 0.4953943697673826, 'Насос N2 (Pump2-R)_Включен': 0.4953943697673826, 'Насос N2 (Pump2-R)_Отключен': 0.4953943697673826, 'Подпитка (Accum_Units)': 1.0, 'Расход 1 - Подпитка (F1)': 1.0, 'Расход 2 - Сеть (F2)': 0.5365459414375482, 'Расход 3 - Отопление (F3)': 0.816767639868588, 'Расход тепла (E1)': 0.5566209054620365, 'Температура 1 - Улица (T1)': 0.5822542148504396, 'Температура 2 - Цех у склада (T2)': 0.6653541571534379, 'Температура 2-1 - Цех у пресса (T2_1)': 0.776046258282723, 'Температура 2-2 - Адм. Бух. (T2_2)': 0.8527430788051854, 'Температура 3 - Сеть Подача (T3)': 0.9616214781566655, 'Температура 4 - Сеть Обратка (T4)': 0.5421863929979479, 'Температура 5 - Отопление Подача (T5)': 0.5482462453618528, 'Температура 6 - Отопление Обратка (T6)': 0.5491174904153924, 'Температура 7 - Задание (T7)': 0.6214652773630808, 'Температура 7-0 - Задание График (T7_0)': 0.6198998737128705})", "num_epochs": 80, "sequence_len": 6, "threshold": "AggregateAlarms(abs_score=True, alm_suppress_minutes=120, alm_threshold=2.5, alm_window_minutes=60, min_alm_in_window=2)", "_transform": "Identity()", "dim": 59, "calibrator": "AnomScoreCalibrator(abs_score=True, anchors=[[0.007340964861214161, 0.0], [75.24830213859723, 0.5], [302.2043700229322, 1.0], [549.6947556730742, 1.5], [813.8305805040376, 2.0], [16849.244140625, 4.161416286239563], [33698.48828125, 5.161416286239563]], max_score=33698.48828125)"}
DAGMM2_miss | 6.98 | 22.64 | 0 | 0 | 0 | 50 | 6 | 0 | 0 | 0 |  |  | 0 | 3 | 0 | 0.95, +, 1 | 94.31 | 19.14 | {"batch_size": 128, "enable_calibrator": true, "enable_threshold": true, "gmm_k": 6, "hidden_size": 32, "lambda_cov_diag": 0.001, "lambda_energy": 0.03, "lr": 0.001, "normalize": "MeanVarNormalize(bias={'Test_D436_fl (Test_D436_fl)': -0.5600694444444444, 'Test_D438_fl (Test_D438_fl)': 0.01729166666666669, 'Test_D440_fl (Test_D440_fl)': 0.03366666666666663, 'Test_D442_fl (Test_D442_fl)': 0.03366666666666661, 'miss_Test_D436_fl (Test_D436_fl)': 0.01423611111111111, 'miss_Test_D438_fl (Test_D438_fl)': 0.01423611111111111, 'miss_Test_D440_fl (Test_D440_fl)': 0.01423611111111111, 'miss_Test_D442_fl (Test_D442_fl)': 0.01423611111111111, 'miss_all': 0.01423611111111111, 'miss_Вентиль - положение (Valve)': 0.01423611111111111, 'miss_Давление 1 - Сеть Подача (P1)': 0.01423611111111111, 'miss_Давление 2 - Сеть Обратка (P2)': 0.01423611111111111, 'miss_Давление 3 - Отопление (P3)': 0.01423611111111111, 'miss_Коррекция от превышения t (Korrect-OH)': 0.01423611111111111, 'miss_Коррекция от снижения t (Korrect-OC)': 0.01423611111111111, 'miss_Насос N1 (Pump1-R)': 0.01423611111111111, 'miss_Насос N2 (Pump2-R)': 0.01423611111111111, 'miss_Подпитка (Accum_Units)': 0.01423611111111111, 'miss_Расход 1 - Подпитка (F1)': 0.01423611111111111, 'miss_Расход 2 - Сеть (F2)': 0.01423611111111111, 'miss_Расход 3 - Отопление (F3)': 0.01423611111111111, 'miss_Расход тепла (E1)': 0.01423611111111111, 'miss_Температура 1 - Улица (T1)': 0.01423611111111111, 'miss_Температура 2 - Цех у склада (T2)': 0.01423611111111111, 'miss_Температура 2-1 - Цех у пресса (T2_1)': 0.01423611111111111, 'miss_Температура 2-2 - Адм. Бух. (T2_2)': 0.01423611111111111, 'miss_Температура 3 - Сеть Подача (T3)': 0.01423611111111111, 'miss_Температура 4 - Сеть Обратка (T4)': 0.01423611111111111, 'miss_Температура 5 - Отопление Подача (T5)': 0.01423611111111111, 'miss_Температура 6 - Отопление Обратка (T6)': 0.01423611111111111, 'miss_Температура 7 - Задание (T7)': 0.01423611111111111, 'miss_Температура 7-0 - Задание График (T7_0)': 0.01423611111111111, 'Вентиль - положение (Valve)': 0.14710007440476194, 'Давление 1 - Сеть Подача (P1)': 0.05846354166666659, 'Давление 2 - Сеть Обратка (P2)': 0.012881944444444402, 'Давление 3 - Отопление (P3)': 0.10685763888888873, 'Коррекция от превышения t (Korrect-OH)_Не работает': -0.13350694444444444, 'Коррекция от превышения t (Korrect-OH)_Работает': 0.13350694444444444, 'Коррекция от снижения t (Korrect-OC)_Не работает': 0.45329861111111114, 'Коррекция от снижения t (Korrect-OC)_Работает': -0.45329861111111114, 'Насос N1 (Pump1-R)_Включен': 0.4322916666666667, 'Насос N1 (Pump1-R)_Отключен': -0.4322916666666667, 'Насос N2 (Pump2-R)_Включен': -0.4322916666666667, 'Насос N2 (Pump2-R)_Отключен': 0.4322916666666667, 'Подпитка (Accum_Units)': 0.0, 'Расход 1 - Подпитка (F1)': 0.0, 'Расход 2 - Сеть (F2)': -0.024564163773148125, 'Расход 3 - Отопление (F3)': 0.2633190883190886, 'Расход тепла (E1)': -0.08183465438446176, 'Температура 1 - Улица (T1)': 0.11783816425120766, 'Температура 2 - Цех у склада (T2)': 0.12316623263888903, 'Температура 2-1 - Цех у пресса (T2_1)': 0.1788377192982472, 'Температура 2-2 - Адм. Бух. (T2_2)': 0.16030092592592537, 'Температура 3 - Сеть Подача (T3)': -0.2192385912698408, 'Температура 4 - Сеть Обратка (T4)': -0.05424858504617209, 'Температура 5 - Отопление Подача (T5)': -0.059420859538784336, 'Температура 6 - Отопление Обратка (T6)': -0.05366815476190495, 'Температура 7 - Задание (T7)': 0.003308167686034381, 'Температура 7-0 - Задание График (T7_0)': 0.03188434829059788}, normalize_bias=True, normalize_scale=True, scale={'Test_D436_fl (Test_D436_fl)': 0.6624889899795587, 'Test_D438_fl (Test_D438_fl)': 0.5314350576374418, 'Test_D440_fl (Test_D440_fl)': 0.6644032619158672, 'Test_D442_fl (Test_D442_fl)': 0.6644032619158672, 'miss_Test_D436_fl (Test_D436_fl)': 0.11846283911650612, 'miss_Test_D438_fl (Test_D438_fl)': 0.11846283911650612, 'miss_Test_D440_fl (Test_D440_fl)': 0.11846283911650612, 'miss_Test_D442_fl (Test_D442_fl)': 0.11846283911650612, 'miss_all': 0.11846283911650612, 'miss_Вентиль - положение (Valve)': 0.11846283911650612, 'miss_Давление 1 - Сеть Подача (P1)': 0.11846283911650612, 'miss_Давление 2 - Сеть Обратка (P2)': 0.11846283911650612, 'miss_Давление 3 - Отопление (P3)': 0.11846283911650612, 'miss_Коррекция от превышения t (Korrect-OH)': 0.11846283911650612, 'miss_Коррекция от снижения t (Korrect-OC)': 0.11846283911650612, 'miss_Насос N1 (Pump1-R)': 0.11846283911650612, 'miss_Насос N2 (Pump2-R)': 0.11846283911650612, 'miss_Подпитка (Accum_Units)': 0.11846283911650612, 'miss_Расход 1 - Подпитка (F1)': 0.11846283911650612, 'miss_Расход 2 - Сеть (F2)': 0.11846283911650612, 'miss_Расход 3 - Отопление (F3)': 0.11846283911650612, 'miss_Расход тепла (E1)': 0.11846283911650612, 'miss_Температура 1 - Улица (T1)': 0.11846283911650612, 'miss_Температура 2 - Цех у склада (T2)': 0.11846283911650612, 'miss_Температура 2-1 - Цех у пресса (T2_1)': 0.11846283911650612, 'miss_Температура 2-2 - Адм. Бух. (T2_2)': 0.11846283911650612, 'miss_Температура 3 - Сеть Подача (T3)': 0.11846283911650612, 'miss_Температура 4 - Сеть Обратка (T4)': 0.11846283911650612, 'miss_Температура 5 - Отопление Подача (T5)': 0.11846283911650612, 'miss_Температура 6 - Отопление Обратка (T6)': 0.11846283911650612, 'miss_Температура 7 - Задание (T7)': 0.11846283911650612, 'miss_Температура 7-0 - Задание График (T7_0)': 0.11846283911650612, 'Вентиль - положение (Valve)': 0.5594494480519128, 'Давление 1 - Сеть Подача (P1)': 0.7377324142195691, 'Давление 2 - Сеть Обратка (P2)': 0.05603223235679432, 'Давление 3 - Отопление (P3)': 0.6001105400581377, 'Коррекция от превышения t (Korrect-OH)_Не работает': 0.3401218020497252, 'Коррекция от превышения t (Korrect-OH)_Работает': 0.3401218020497252, 'Коррекция от снижения t (Korrect-OC)_Не работает': 0.49781420256542375, 'Коррекция от снижения t (Korrect-OC)_Работает': 0.49781420256542375, 'Насос N1 (Pump1-R)_Включен': 0.4953943697673826, 'Насос N1 (Pump1-R)_Отключен': 0.4953943697673826, 'Насос N2 (Pump2-R)_Включен': 0.4953943697673826, 'Насос N2 (Pump2-R)_Отключен': 0.4953943697673826, 'Подпитка (Accum_Units)': 1.0, 'Расход 1 - Подпитка (F1)': 1.0, 'Расход 2 - Сеть (F2)': 0.5365459414375482, 'Расход 3 - Отопление (F3)': 0.816767639868588, 'Расход тепла (E1)': 0.5566209054620365, 'Температура 1 - Улица (T1)': 0.5822542148504396, 'Температура 2 - Цех у склада (T2)': 0.6653541571534379, 'Температура 2-1 - Цех у пресса (T2_1)': 0.776046258282723, 'Температура 2-2 - Адм. Бух. (T2_2)': 0.8527430788051854, 'Температура 3 - Сеть Подача (T3)': 0.9616214781566655, 'Температура 4 - Сеть Обратка (T4)': 0.5421863929979479, 'Температура 5 - Отопление Подача (T5)': 0.5482462453618528, 'Температура 6 - Отопление Обратка (T6)': 0.5491174904153924, 'Температура 7 - Задание (T7)': 0.6214652773630808, 'Температура 7-0 - Задание График (T7_0)': 0.6198998737128705})", "num_epochs": 80, "sequence_len": 6, "threshold": "AggregateAlarms(abs_score=True, alm_suppress_minutes=120, alm_threshold=2.5, alm_window_minutes=60, min_alm_in_window=2)", "_transform": "Identity()", "dim": 59, "calibrator": "AnomScoreCalibrator(abs_score=True, anchors=[[0.002917787292972207, 0.0], [58.924330550458045, 0.5], [179.0410860598285, 1.0], [346.5535817544346, 1.5], [493.80123579964345, 2.0], [223256.796875, 4.161416286239563], [446513.59375, 5.161416286239563]], max_score=446513.59375)"}
DAGMM3_miss | 2.5 | 9.52 | 16.67 | 6.06 | 8.89 | 16.67 | 2 | 33.33 | 16.67 | 22.22 | 0 | 0 | 1.5 | 3 | 6 | 0.95, +, 1 | 120.08 | 26.87 | {"batch_size": 128, "enable_calibrator": true, "enable_threshold": true, "gmm_k": 6, "hidden_size": 32, "lambda_cov_diag": 0.001, "lambda_energy": 0.05, "lr": 0.001, "normalize": "MeanVarNormalize(bias={'Test_D436_fl (Test_D436_fl)': -0.5600694444444444, 'Test_D438_fl (Test_D438_fl)': 0.01729166666666669, 'Test_D440_fl (Test_D440_fl)': 0.03366666666666663, 'Test_D442_fl (Test_D442_fl)': 0.03366666666666661, 'miss_Test_D436_fl (Test_D436_fl)': 0.01423611111111111, 'miss_Test_D438_fl (Test_D438_fl)': 0.01423611111111111, 'miss_Test_D440_fl (Test_D440_fl)': 0.01423611111111111, 'miss_Test_D442_fl (Test_D442_fl)': 0.01423611111111111, 'miss_all': 0.01423611111111111, 'miss_Вентиль - положение (Valve)': 0.01423611111111111, 'miss_Давление 1 - Сеть Подача (P1)': 0.01423611111111111, 'miss_Давление 2 - Сеть Обратка (P2)': 0.01423611111111111, 'miss_Давление 3 - Отопление (P3)': 0.01423611111111111, 'miss_Коррекция от превышения t (Korrect-OH)': 0.01423611111111111, 'miss_Коррекция от снижения t (Korrect-OC)': 0.01423611111111111, 'miss_Насос N1 (Pump1-R)': 0.01423611111111111, 'miss_Насос N2 (Pump2-R)': 0.01423611111111111, 'miss_Подпитка (Accum_Units)': 0.01423611111111111, 'miss_Расход 1 - Подпитка (F1)': 0.01423611111111111, 'miss_Расход 2 - Сеть (F2)': 0.01423611111111111, 'miss_Расход 3 - Отопление (F3)': 0.01423611111111111, 'miss_Расход тепла (E1)': 0.01423611111111111, 'miss_Температура 1 - Улица (T1)': 0.01423611111111111, 'miss_Температура 2 - Цех у склада (T2)': 0.01423611111111111, 'miss_Температура 2-1 - Цех у пресса (T2_1)': 0.01423611111111111, 'miss_Температура 2-2 - Адм. Бух. (T2_2)': 0.01423611111111111, 'miss_Температура 3 - Сеть Подача (T3)': 0.01423611111111111, 'miss_Температура 4 - Сеть Обратка (T4)': 0.01423611111111111, 'miss_Температура 5 - Отопление Подача (T5)': 0.01423611111111111, 'miss_Температура 6 - Отопление Обратка (T6)': 0.01423611111111111, 'miss_Температура 7 - Задание (T7)': 0.01423611111111111, 'miss_Температура 7-0 - Задание График (T7_0)': 0.01423611111111111, 'Вентиль - положение (Valve)': 0.14710007440476194, 'Давление 1 - Сеть Подача (P1)': 0.05846354166666659, 'Давление 2 - Сеть Обратка (P2)': 0.012881944444444402, 'Давление 3 - Отопление (P3)': 0.10685763888888873, 'Коррекция от превышения t (Korrect-OH)_Не работает': -0.13350694444444444, 'Коррекция от превышения t (Korrect-OH)_Работает': 0.13350694444444444, 'Коррекция от снижения t (Korrect-OC)_Не работает': 0.45329861111111114, 'Коррекция от снижения t (Korrect-OC)_Работает': -0.45329861111111114, 'Насос N1 (Pump1-R)_Включен': 0.4322916666666667, 'Насос N1 (Pump1-R)_Отключен': -0.4322916666666667, 'Насос N2 (Pump2-R)_Включен': -0.4322916666666667, 'Насос N2 (Pump2-R)_Отключен': 0.4322916666666667, 'Подпитка (Accum_Units)': 0.0, 'Расход 1 - Подпитка (F1)': 0.0, 'Расход 2 - Сеть (F2)': -0.024564163773148125, 'Расход 3 - Отопление (F3)': 0.2633190883190886, 'Расход тепла (E1)': -0.08183465438446176, 'Температура 1 - Улица (T1)': 0.11783816425120766, 'Температура 2 - Цех у склада (T2)': 0.12316623263888903, 'Температура 2-1 - Цех у пресса (T2_1)': 0.1788377192982472, 'Температура 2-2 - Адм. Бух. (T2_2)': 0.16030092592592537, 'Температура 3 - Сеть Подача (T3)': -0.2192385912698408, 'Температура 4 - Сеть Обратка (T4)': -0.05424858504617209, 'Температура 5 - Отопление Подача (T5)': -0.059420859538784336, 'Температура 6 - Отопление Обратка (T6)': -0.05366815476190495, 'Температура 7 - Задание (T7)': 0.003308167686034381, 'Температура 7-0 - Задание График (T7_0)': 0.03188434829059788}, normalize_bias=True, normalize_scale=True, scale={'Test_D436_fl (Test_D436_fl)': 0.6624889899795587, 'Test_D438_fl (Test_D438_fl)': 0.5314350576374418, 'Test_D440_fl (Test_D440_fl)': 0.6644032619158672, 'Test_D442_fl (Test_D442_fl)': 0.6644032619158672, 'miss_Test_D436_fl (Test_D436_fl)': 0.11846283911650612, 'miss_Test_D438_fl (Test_D438_fl)': 0.11846283911650612, 'miss_Test_D440_fl (Test_D440_fl)': 0.11846283911650612, 'miss_Test_D442_fl (Test_D442_fl)': 0.11846283911650612, 'miss_all': 0.11846283911650612, 'miss_Вентиль - положение (Valve)': 0.11846283911650612, 'miss_Давление 1 - Сеть Подача (P1)': 0.11846283911650612, 'miss_Давление 2 - Сеть Обратка (P2)': 0.11846283911650612, 'miss_Давление 3 - Отопление (P3)': 0.11846283911650612, 'miss_Коррекция от превышения t (Korrect-OH)': 0.11846283911650612, 'miss_Коррекция от снижения t (Korrect-OC)': 0.11846283911650612, 'miss_Насос N1 (Pump1-R)': 0.11846283911650612, 'miss_Насос N2 (Pump2-R)': 0.11846283911650612, 'miss_Подпитка (Accum_Units)': 0.11846283911650612, 'miss_Расход 1 - Подпитка (F1)': 0.11846283911650612, 'miss_Расход 2 - Сеть (F2)': 0.11846283911650612, 'miss_Расход 3 - Отопление (F3)': 0.11846283911650612, 'miss_Расход тепла (E1)': 0.11846283911650612, 'miss_Температура 1 - Улица (T1)': 0.11846283911650612, 'miss_Температура 2 - Цех у склада (T2)': 0.11846283911650612, 'miss_Температура 2-1 - Цех у пресса (T2_1)': 0.11846283911650612, 'miss_Температура 2-2 - Адм. Бух. (T2_2)': 0.11846283911650612, 'miss_Температура 3 - Сеть Подача (T3)': 0.11846283911650612, 'miss_Температура 4 - Сеть Обратка (T4)': 0.11846283911650612, 'miss_Температура 5 - Отопление Подача (T5)': 0.11846283911650612, 'miss_Температура 6 - Отопление Обратка (T6)': 0.11846283911650612, 'miss_Температура 7 - Задание (T7)': 0.11846283911650612, 'miss_Температура 7-0 - Задание График (T7_0)': 0.11846283911650612, 'Вентиль - положение (Valve)': 0.5594494480519128, 'Давление 1 - Сеть Подача (P1)': 0.7377324142195691, 'Давление 2 - Сеть Обратка (P2)': 0.05603223235679432, 'Давление 3 - Отопление (P3)': 0.6001105400581377, 'Коррекция от превышения t (Korrect-OH)_Не работает': 0.3401218020497252, 'Коррекция от превышения t (Korrect-OH)_Работает': 0.3401218020497252, 'Коррекция от снижения t (Korrect-OC)_Не работает': 0.49781420256542375, 'Коррекция от снижения t (Korrect-OC)_Работает': 0.49781420256542375, 'Насос N1 (Pump1-R)_Включен': 0.4953943697673826, 'Насос N1 (Pump1-R)_Отключен': 0.4953943697673826, 'Насос N2 (Pump2-R)_Включен': 0.4953943697673826, 'Насос N2 (Pump2-R)_Отключен': 0.4953943697673826, 'Подпитка (Accum_Units)': 1.0, 'Расход 1 - Подпитка (F1)': 1.0, 'Расход 2 - Сеть (F2)': 0.5365459414375482, 'Расход 3 - Отопление (F3)': 0.816767639868588, 'Расход тепла (E1)': 0.5566209054620365, 'Температура 1 - Улица (T1)': 0.5822542148504396, 'Температура 2 - Цех у склада (T2)': 0.6653541571534379, 'Температура 2-1 - Цех у пресса (T2_1)': 0.776046258282723, 'Температура 2-2 - Адм. Бух. (T2_2)': 0.8527430788051854, 'Температура 3 - Сеть Подача (T3)': 0.9616214781566655, 'Температура 4 - Сеть Обратка (T4)': 0.5421863929979479, 'Температура 5 - Отопление Подача (T5)': 0.5482462453618528, 'Температура 6 - Отопление Обратка (T6)': 0.5491174904153924, 'Температура 7 - Задание (T7)': 0.6214652773630808, 'Температура 7-0 - Задание График (T7_0)': 0.6198998737128705})", "num_epochs": 80, "sequence_len": 6, "threshold": "AggregateAlarms(abs_score=True, alm_suppress_minutes=120, alm_threshold=2.5, alm_window_minutes=60, min_alm_in_window=2)", "_transform": "Identity()", "dim": 59, "calibrator": "AnomScoreCalibrator(abs_score=True, anchors=[[0.011060262098908424, 0.0], [61.80883893920843, 0.5], [215.62609228898296, 1.0], [430.3332076692781, 1.5], [688.5460693233839, 2.0], [506706.875, 4.161416286239563], [1013413.75, 5.161416286239563]], max_score=1013413.75)"}
USAD_base_miss | 6.55 | 16 | 8.33 | 3.03 | 4.44 | 75 | 9 | 33.33 | 16.67 | 22.22 | 15 | 15 | 1.5 | 3 | 6 | 0.95, +, 1 | 24.08 | 0.08 | {"epochs": 80, "prt_steps": 10, "device": "cuda", "verbose": 1, "random_state": 42, "seq_len": 6}
TranAD_base_miss | 21.19 | 48 | 50 | 18.18 | 26.67 | 91.67 | 11 | 66.67 | 40 | 50 | 5 | 5 | 1.25 | 3 | 5 | 0.95, +, 1 | 22.84 | 0.13 | {"epochs": 80, "prt_steps": 20, "device": "cuda", "verbose": 1, "random_state": 42, "seq_len": 6}
DeepIFTS_base_miss | 1.98 | 5.26 | 8.33 | 1.69 | 2.82 | 8.33 | 1 | 33.33 | 11.11 | 16.67 | 15 | 15 | 2.25 | 3 | 9 | 0.95, +, 1 | 13.2 | 4.5 | {"epochs": 80, "prt_steps": 20, "device": "cuda", "verbose": 1, "random_state": 42, "seq_len": 6}
TcnED_base_miss | 18.63 | 30 | 83.33 | 8.85 | 16 | 58.33 | 7 | 66.67 | 66.67 | 66.67 | 7.5 | 7.5 | 0.75 | 3 | 3 | 0.95, +, 1 | 95.84 | 0.17 | {"epochs": 80, "lr": 0.001, "prt_steps": 20, "device": "cuda", "verbose": 1, "random_state": 42, "seq_len": 6}
Anomaly_transformer_base_miss | 31 | 35 | 41.67 | 20.83 | 27.78 | 58.33 | 7 | 66.67 | 50 | 57.14 | 7.5 | 7.5 | 1 | 3 | 4 | 0.95, +, 1 | 44.61 | 0.88 | {"epochs": 80, "prt_steps": 20, "device": "cuda", "verbose": 1, "random_state": 42, "seq_len": 6}
DeepSVDD_base_miss | 9.72 | 25.53 | 50 | 4.23 | 7.79 | 50 | 6 | 66.67 | 14.29 | 23.53 | 7.5 | 7.5 | 3.5 | 3 | 14 | 0.95, +, 1 | 4.54 | 0.14 | {"epochs": 80, "prt_steps": 20, "device": "cuda", "verbose": 1, "random_state": 42, "seq_len": 6}
DeepSVDD_GRU_miss | 23.93 | 34.78 | 25 | 42.86 | 31.58 | 33.33 | 4 | 33.33 | 50 | 40 | 5 | 5 | 0.5 | 3 | 2 | 0.95, +, 1 | 2.44 | 0.28 | {"network": "GRU", "epochs": 80, "prt_steps": 20, "device": "cuda", "verbose": 1, "random_state": 42, "seq_len": 6}
DeepSVDD_transformer1 | 1.14 | 2.9 | 8.33 | 1.43 |  | 8.33 | 1 | 33.33 | 16.67 | 22.22 | 10 | 10 | 1.5 | 3 | 6 | 0.97, +, 1 | 46.69 | 0.14 | {"hidden_dims": 64, "stride": 1, "lr": 0.001, "epochs": 80, "prt_steps": 20, "device": "cuda", "verbose": 1, "random_state": 42, "seq_len": 6}
DeepSVDD_LSTM_miss | 19.51 | 15.69 | 8.33 | 50 | 14.29 | 33.33 | 4 | 33.33 | 100 | 50 | 15 | 15 | 0.25 | 3 | 1 | 0.95, +, 1 | 2.56 | 0.14 | {"network": "LSTM", "epochs": 80, "prt_steps": 20, "device": "cuda", "verbose": 1, "random_state": 42, "seq_len": 6}
DeepSVDD_TCN_miss | 2.4 | 6.15 | 0 | 0 | 0 | 16.67 | 2 | 0 | 0 | 0 |  |  | 0 | 3 | 0 | 0.95, +, 1 | 3.66 | 0.17 | {"network": "TCN", "epochs": 80, "prt_steps": 20, "device": "cuda", "verbose": 1, "random_state": 42, "seq_len": 6}
DeepSVDD_transformer_epoch200 | 19.24 | 20.69 | 50 | 7.32 | 12.77 | 50 | 6 | 66.67 | 20 | 30.77 | 7.5 | 7.5 | 2.5 | 3 | 10 | 0.95, +, 1 | 11.67 | 0.13 | {"epochs": 200, "prt_steps": 20, "device": "cuda", "verbose": 1, "random_state": 42, "seq_len": 6}